B.Tech. Project

On

OPTIMAL CONFIGURATION OF BIFACIAL
PHOTOVOLTAIC MODULES USING
PARAMETRIC ANALYSIS

Report submitted in partial fulfillment of the requirements for the
B. Tech. degree in Electrical Engineering

By

| Name of Student | Roll No. |
| --- | --- |
| Ashish Upadhyay | 2022UEE4521 |
| Pratyai Chakrabarty | 2022UEE4586 |
| Aman | 2022UEE4532 |
| Aditya Garg | 2022UEE4503 |

Under the supervision of

Dr. Astitva Kumar

[NSUT Logo]

DEPARTMENT OF ELECTRICAL ENGINEERING

NETAJI SUBHAS UNIVERSITY OF TECHNOLOGY (NSUT)
DWARKA, NEW DELHI

MAY 2026

CANDIDATE(S) DECLARATION

DEPARTMENT OF ELECTRICAL ENGINEERING

I/We, Ashish Upadhyay (2022UEE4521), Pratyai Chakrabarty (2022UEE4586), Aman (2022UEE4532) and Aditya Garg (2022UEE4503), students of B. Tech., Department of Electrical Engineering, hereby declare that the Project-Thesis titled "Optimal Configuration of Bifacial Photovoltaic Modules using Parametric Analysis" which is submitted by us to the Department of Electrical Engineering, Netaji Subhas University of Technology (NSUT) Dwarka, New Delhi in partial fulfillment of the requirement for the award of the degree of Bachelor of Technology is our original work and not copied from any source without proper citation. The manuscript has been subjected to plagiarism check by Turnitin software. This work has not previously formed the basis for the award of any other Degree.

Place: New Delhi

Date: May 2026

Ashish Upadhyay
2022UEE4521

Pratyai Chakrabarty
2022UEE4586

Aman
2022UEE4532

Aditya Garg
2022UEE4503

i

CERTIFICATE OF DECLARATION

DEPARTMENT OF ELECTRICAL ENGINEERING

This is to certify that the work embodied in project thesis titled, "Optimal Configuration of Bifacial Photovoltaic Modules using Parametric Analysis" by Ashish Upadhyay (2022UEE4521), Pratyai Chakrabarty (2022UEE4586), Aman (2022UEE4532) and Aditya Garg (2022UEE4503) is the bonafide work of the group submitted to Netaji Subhas University of Technology for consideration in 8th Semester B.Tech. Project Evaluation.

The original Research work was carried out by the team under my guidance and supervision in the academic year 2025-2026. This work has not been submitted for any other diploma or degree of any university. On the basis of declaration made by the group, we recommend the project report for evaluation.

Dr. Astitva Kumar

Assistant Professor

Department of Electrical Engineering

Netaji Subhas University of Technology

ii

ACKNOWLEDGEMENT

We would like to express our sincere gratitude and appreciation to all those who made it possible to complete this project. First and foremost, we extend our deepest thanks to our project supervisor, Dr. Astitva Kumar, Assistant Professor, Department of Electrical Engineering, Netaji Subhas University of Technology, New Delhi, whose continuous guidance, invaluable suggestions, constructive criticism, and constant encouragement have been instrumental throughout the course of this work. His expertise in the domain of photovoltaic systems and renewable energy provided the foundation upon which this research was built.

We would also like to acknowledge the Department of Electrical Engineering, NSUT, for providing access to laboratory facilities, computational resources, and licensed software tools including MATLAB/Simulink, which were essential for the simulation and analysis components of this project. The department's commitment to fostering a research-oriented environment has been greatly appreciated.

We are grateful to our colleagues and peers who offered their time for technical discussions, proofreading, and constructive feedback during the preparation of this report. Their support has been invaluable in refining both the technical content and the presentation quality of this work.

Finally, we wish to express our heartfelt gratitude to our families for their unwavering support, patience, and motivation throughout the duration of this project. Their encouragement has been a constant source of strength.

Ashish Upadhyay

Pratyai Chakrabarty

Aman

Aditya Garg

iii

PLAGIARISM REPORT

[Attach Turnitin/Ouriginal plagiarism report here]

Similarity Index: ___ % (must be less than 20%)

Verified by:

Dr. Astitva Kumar

Supervisor

iv

ABSTRACT

Solar photovoltaic (PV) technology has become a key component in the global transition toward sustainable energy, with countries such as India witnessing rapid growth in solar power deployment due to abundant solar resources and increasing energy demand. Efficient utilization of available solar irradiance is therefore critical to maximize energy generation from installed PV systems. In this context, bifacial photovoltaic modules have gained significant attention as they are capable of capturing solar irradiance from both the front and rear surfaces, leading to higher energy yield compared to conventional monofacial panels. However, the performance advantage of bifacial PV systems strongly depends on installation parameters such as module tilt angle, ground surface albedo, and mounting height, which influence the amount of reflected and incident irradiance received by the rear side of the module. This project presents a computational framework for determining the optimal configuration of bifacial PV installations for a given geographical location. A user-oriented front-end platform is developed where inputs such as city and date are provided, and corresponding hourly irradiance data are retrieved from the NASA POWER database. Parametric analyses are then performed by varying key installation parameters including tilt angle, surface albedo, and mounting height. The framework evaluates the resulting energy output and identifies the configuration that maximizes power generation for the selected location. The proposed approach enables location-specific optimization of bifacial PV systems and provides a practical tool for improving system design and deployment strategies.

Keywords: Solar Photovoltaic, Bifacial PV, Parametric Analysis, Frontend Platform, Strategic Installation, View Factor

v

TABLE OF CONTENTS

CANDIDATE(S) DECLARATION	i

CERTIFICATE OF DECLARATION	ii

ACKNOWLEDGEMENT	iii

PLAGIARISM REPORT	iv

ABSTRACT	v

TABLE OF CONTENTS	vi

LIST OF FIGURES	ix

LIST OF TABLES	x

LIST OF ABBREVIATIONS	xi

CHAPTER 1: INTRODUCTION	1

1.1  Background and Motivation	1

1.2  Solar Photovoltaic Technology: An Overview	3

1.3  Monofacial versus Bifacial PV Modules	4

1.4  Key Parameters Affecting Bifacial PV Performance	5

1.5  Challenges in Bifacial PV Optimization	7

1.6  Problem Statement and Research Objectives	8

1.7  Organization of the Report	9

CHAPTER 2: LITERATURE REVIEW	10

2.1  Review of Bifacial PV Technology	10

2.2  Influence of Tilt Angle on Bifacial PV Performance	12

2.3  Effect of Ground Albedo on Rear-Side Irradiance	13

2.4  Impact of Mounting Height on Energy Yield	15

2.5  Combined Parametric Optimization Studies	16

2.6  Simulation and Modeling Approaches	17

2.7  Research Gap Analysis	18

CHAPTER 3: METHODOLOGY	20

3.1  Overview of the Proposed Framework	20

3.2  Mathematical Formulation of Bifacial PV Operation	21

3.2.1  Front-Side Irradiance Model	22

3.2.2  Rear-Side Irradiance Model	23

3.2.3  Shadow and View Factor Computation	24

3.3  Simulink Model Development	26

3.4  Frontend Platform Architecture	28

3.4.1  User Interface Layer	28

3.4.2  Backend Application Layer	29

3.4.3  Analysis and Simulation Engine	29

3.4.4  Results Dashboard	30

3.5  NASA POWER API Integration	30

3.6  Parametric Sweep Configuration	31

CHAPTER 4: RESULTS AND DISCUSSION	32

4.1  Case Study Configuration	32

4.2  Combined Parametric Sweep Results	33

4.3  I-V and P-V Characteristics	34

4.4  Optimal Configuration: Maximum Energy	35

4.5  Optimal Configuration: Maximum Rear Gain	36

4.6  Individual Parameter Variation Analysis	37

4.6.1  Effect of Albedo Variation	37

4.6.2  Effect of Height Variation	38

4.6.3  Effect of Tilt Angle Variation	39

4.7  Comparison with Published Literature	40

4.8  Discussion of Results	41

CHAPTER 5: CONCLUSION AND FUTURE WORK	43

5.1  Summary of Contributions	43

5.2  Key Findings	44

5.3  Limitations	45

5.4  Scope for Future Work	45

REFERENCES	47

APPENDIX A: Software Code	50

APPENDIX B: Simulink Block Diagrams	52

BIO-DATA	54

LIST OF FIGURES

Figure 1.1: Global solar PV installed capacity growth (2015-2025)	2

Figure 1.2: Schematic representation of monofacial and bifacial PV modules	4

Figure 1.3: Key parameters influencing bifacial PV module performance	6

Figure 2.1: Year-wise publication trend on bifacial PV research	11

Figure 2.2: Albedo values of common ground surfaces for PV applications	14

Figure 3.1: Key parameters affecting bifacial PV modules	21

Figure 3.2: View factor representation for bifacial PV	25

Figure 3.3: Simulink model for bifacial PV module	27

Figure 3.4: Proposed framework for optimal configuration of bifacial PV systems	29

Figure 4.1: I-V characteristics for different configurations	34

Figure 4.2: P-V characteristics for different configurations	35

Figure 4.3: Frontend interface for parameter sweep analysis	37

Figure 4.4: Rear share of effective irradiance on varying albedo	38

Figure 4.5: Rear share of effective irradiance on varying height	39

Figure 4.6: Rear share of effective irradiance on varying tilt angle	40

ix

LIST OF TABLES

Table 2.1: Albedo values of common surface types for PV applications	14

Table 2.2: Summary of key literature on bifacial PV parametric studies	18

Table 3.1: Technical specifications of the PV module used in simulation	26

Table 4.1: Max energy based optimal configuration (Top 5)	36

Table 4.2: Max rear gain based optimal configuration (Top 5)	36

Table 4.3: Comparison of results with published literature	41

x

LIST OF ABBREVIATIONS

PV		Photovoltaic

BPV		Bifacial Photovoltaic

GHI		Global Horizontal Irradiance

DHI		Diffuse Horizontal Irradiance

DNI		Direct Normal Irradiance

API		Application Programming Interface

NASA		National Aeronautics and Space Administration

POWER		Prediction of Worldwide Energy Resources

NOCT		Nominal Operating Cell Temperature

STC		Standard Test Conditions

I-V		Current-Voltage

P-V		Power-Voltage

MATLAB		Matrix Laboratory

IEEE		Institute of Electrical and Electronics Engineers

NSUT		Netaji Subhas University of Technology

MPP		Maximum Power Point

xi